## Sheet1
IO list for Atmospheric water generator_Recip_Inverter & EEV
IO type | Sr. No | Controller | Description
ANALOG INPUTS | 1 | MCX061V | AI1 | Inlet Air Temp | NTC | 30 | Dry bulb temperature
| 2 |  | AI2 | Humidity Sensor (for Dew Point Temp) | 4-20mA | 26 | Dew point temperature of the inlet air
| 3 |  | AI3 | Suction Pressure | 4-20mA | 7.5 | Bar
| 4 |  | AI4 | Suction Temp | NTC | 15 | Evaporating temperatue
| 5 |  | AI5 | Discharge Pressure | 4-20mA | 18.4 | Bar | 25
| 6 |  | AI6 | Discharge Temp | NTC | 48
| 7 |  | AI7 | Ambient temp | NTC
DIGITAL INPUTS | 1 | MCX061V | DI1 | VFD Trip Status | NO-Alarm / NC-Healthy
| 2 |  | DI2 | VFD Run Status | NO-Alarm / NC-Healthy |  | 14/02/2019
| 3 |  | DI3 | Cond. Fan Oveload | NO-Alarm / NC-Healthy |  | Comments
| 4 |  | DI4 | Evap. Fan Oveload | NO-Alarm / NC-Healthy |  | 1. Fan is common for evap and condenser in our machine
| 5 |  | DI5 | SPP | NO-Alarm / NC-Healthy |  | 2. Do not have control for fan speed - Fan is fixed speed
| 6 |  | DI6 |  | NO-Alarm / NC-Healthy |  | 3. Suggest the Humidity sensor, model and make
| 7 |  | DI7 |  | NO-Alarm / NC-Healthy
| 8 |  | DI8 |  | NO-Alarm / NC-Healthy |  | Logic
1. Sense ambient temp and humidity
ANALOG OUPUTS | 1 | MCX061V | AO1 | VFD for Comp | 0-10 VDC |  | 2. Calculate dew point and run compressor for evap temperature = dewpoint -8 degree celcius
| 2 |  | AO2 | VFD for Cond. Fan | 0-10 VDC |  | 3. compressor should ideally run at 3000 rpm or less
4. Maintain super heat 3-5 K
DIGITAL OUTPUTS | 1 | MCX061V | DO1 | Comp. VFD On/Off | NO |  | 5. Maintain sub cooling 6-10K
| 2 |  | DO2 | Cond. Fan VFD On/Off | NO |  | 6. Switch off the compresso if dew point is less then 5 degree celcius
| 3 |  | DO3 | Cond Fan On/Off | NO |  | 7. Switch off the compressor if fan is not running
| 4 |  | DO4 | Evap Fan On/Off | NO |  | 8 Compessor shoud trip at 50 degree ambient temperature
| 5 |  | DO5 | Spare | NO
| 6 |  | DO6 | Alarm | NO